## Disclaimer
Disclaimer
THIS DOCUMENT IS PROVIDED "AS IS" WITH NO WARRANTIES WHATSOEVER, INCLUDING ANY WARRANTY OF MERCHANTABILITY, FITNESS FOR ANY PARTICULAR PURPOSE, OR ANY WARRANTY OTHERWISE ARISING OUT OF ANY PROPOSAL, SPECIFICATION OR SAMPLE.
Information in this document is provided in connection with Intel products. No license, express or implied, by estoppel or otherwise, to any intellectual property rights is granted by this document. Except as provided in Intel's Terms and Conditions of Sale for such products, Intel assumes no liability whatsoever, and Intel disclaims any express or implied warranty, relating to sale and/or use of Intel products including liability or warranties relating to fitness for a particular purpose, merchantability, or infringement of any patent, copyright or other intellectual property right. Intel products are not intended for use in medical, life saving, or life sustaining applications.
Intel retains the right to make changes to this document at any time, without notice. This document should be used for reference only and the contained data is dependent on specific hardware.
The hardware vendor remains solely responsible for the design, sale and functionality of its product, including any liability arising from product infringement or product warranty.
Copyright © Intel Corporation 2015.
*Other brands and names are the property of their respective owners.
Click to Continue

## Instructions
Power Budget Instructions
Press the Start button to begin using the Power Budget Tool
START button
Summary / Results
Configure Compute Module
Configure System
* Print this page for reference while operating the Power Budget Tool.
Disclaimer

## Summary
Power Budget |  |  |  |  | Product Code Summary
Chassis / Power Supply: | (Select Chassis) |  |  |  | H2312KPKR2 | H2312KPFKR2 | H2312TPKR2 | H2312TPFKR2
System Totals | 12V Main (Amps) | 12V Stby (Amps) | Total System Watts
Compute Module 1: (Select Computer Module) | 0 | 0 | 0
Compute Module 2: (Select Computer Module) | 0 | 0 | 0
Compute Module 3: (Select Computer Module) | 0 | 0 | 0 |  | H2216KPKR2 | H2216KPFKR2 | H2216TPKR2 | H2216TPFKR2
Compute Module 4: (Select Computer Module) | 0 | 0 | 0 |  | H2224KPKR2(1600W) |  | H2224TPKR2(1600W)
Hard Drive: | 0 | 0 | 0 |  | H2224KPKR2(2200W) |  | H2224TPKR2(2200W)
Chassis & Peripherals: | 0 | 0 | 0
System Totals: | 0 | 0 | 0 |  |  | PSU Limitation
CLST Allowance | 0 | 0 | 0 |  |  | 0 | 0
System Power during CLST | 0 | 0 | 0 |  | H2312KR/2x1600W CRPS/12x4056 dual rotor fan | 1600 | 2160
220VAC PSU DC Output Limits (2+0 Mode) | 0 | 0 | 0 | <-- These limits may change based on inlet voltage | H2216KR/2x1600W CRPS/12x4056 dual rotor fan | 1600 | 2160
220VAC PSU DC Output Limits (1+1 Mode) | 0 | 0 | 0 |  | H2224KPKR2X1600W | 1600 | 2160
Margins to Limit (2+0 Mode) | 0 | 0 | 0 | <--System Margins | H2224KPKR2X2200W | 1960 | 1250
Margins to Limit (1+1 Mode) | 0 | 0 | 0 |  | PSU | Rating | OC CLST
Negative margins show configuration exceeds a specified limit. |  |  |  |  | 0 | 0 | 0
[6 empty] | 0 | 0
AC inlet power estimate (below) | [5 empty] | Unconstrained Redundant Mode: No system throttle. All 4 nodes work normally. | Optimal Redundant Mode: 1. With BIOS setting “server management - shutdown policy” “disable”, all nodes in the system may be throttled and have lower performance. 2. With BIOS “server management--shutdown policy” “enable”, Node3 and 4 will shutdown while Node1 and 2 keep running without throttling. Node 1 and Node 2 have no performance lose. | Non Redundant Mode: All nodes in the system may shutdown due to OCP.
Input Voltage: | 1 | (Volts)
Estimated Inlet Power: | NA | (Watts)
Estimated Inlet Current: | NA | (Amps)
Estimated Thermal Dissipation: | NA | (BTU/Hr) |  |  | 220 | #VALUE!
Note: Estimates are most accurate at max loading. |  |  |  |  | 115
[9 empty] | PSU | System Loading | Working Mode @1 PSU failure | Description
[9 empty] | 1200W 1600W | <Rating | Unconstrained Redundant Mode | No system throttle. All 4 nodes work normally.
If your desired configuration exceeds the power supply limits, two power supplies are required. The two power supplies will operate in a current sharing mode | [9 empty] | Rating< <OC CLST | Optimal Redundant Mode | 1. With BIOS setting “server management - shutdown policy” “disable”, all nodes in the system may be throttled and have lower performance. 2. With BIOS “server management--shutdown policy” “enable”, Node3 and 4 will shutdown while Node1 and 2 keep running without throttling. Node 1 and Node 2 have no performance lose.
to deliver the additional power needed for your configuration. Furthermore, the two power supplies may need to be sourced from separate AC circuits in order to not | [9 empty] | >OC CLST | Non Redundant Mode | All nodes in the system may shutdown due to OCP.
exceed maximum AC outlet current. Exceeding maximum AC outlet current may cause a circuit breaker to trip.
Revision: | 1.5 | 2017-02-08
Configure System
Summary / Results
Help
Configure Compute Module 1
Configure Compute Module 2
Configure Compute Module 3
Configure Compute Module 4

## Configure System
Power Budget | (Select Chassis) System Config | [6 empty] | HSBP 5V VRM Efficiency
System Feature | Description | Qty | +3.3V (amps) | +5V (amps) | 12V MAIN (Amps) | 12V Stby (Amps) | Power (watts) | 1
Chassis: | 1 |  |  |  | 0 | 0 | 0
HSBP: | 0 | [7 empty] | <--Max 12 pcs Drives support | <--Max 3pcs Drives Support
Module 1 Hard Drive Type: | 1 | 0 |  | 0 | 0 | 0 | 0 |  | <--Max 12 pcs Drives support | <--Max 3pcs Drives Support
Module 2 Hard Drive Type: | 1 | 0 |  | 0 | 0 | 0 | 0 |  | <--Max 16 pcs 2.5" Drives support | <--Max 4pcs 2.5" Drives Support
Module 3 Hard Drive Type: | 1 | 0 |  | 0 | 0 | 0 | 0 |  | <--Max 16 pcs 2.5" Drives support | <--Max 4pcs 2.5" Drives Support
Module 4 Hard Drive Type: | 1 | 0 |  | 0 | 0 | 0 | 0
| SubTotals: |  |  | 0 | 0 | 0 | 0
| SubTotal Chassis Power (Watts): |  |  | 0 | 0 | 0 | 0
Define Hard Drive Types
Configure Compute Module 1
Help
Define the Chassis
Summary / Results
Configure Compute Module 2
Configure Compute Module 3
Configure Compute Module 4

## Configure Module 1
Power Budget | Compute Module 1: (Select Computer Module) Configuration | [12 empty] | CPU VRM Efficiency | 3.3v VRM Efficiency | 5v VRM Efficiency
Serverboard Feature | Description |  | +3.3V (amps) | +5V (amps) | +12V (amps) | 12V CPU1 (amps) | 12V CPU2 (amps) | 5V stby (amps) | Max 3.3v/5v (watts) | 12V MAIN (Amps) | 12V Stby (Amps) | Power (Watts) |  | 100% | 100% | 100%
Computer Node: | 1 |  | 0 | 0 | 0 |  |  | 0 |  | 0 | 0 | 0
Processors 1: | 1 | 1 |  |  |  | 0 |  |  |  | 0 | 0 | 0 | *This line includes correction factors.
1
Processors 2: | 1 | 1 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | *This line includes correction factors.
1
System Fans: |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0
CPU 1 Memory: | 1 | 1 |  |  |  | 0 |  |  |  | 0 | 0 | 0
CPU 2 Memory: | 1 | 1 |  |  |  |  | 0 |  |  | 0 | 0 | 0
PCIe Slot 1: | 1 |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
Slot2 IO Module: | 1 |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
| Node 1 SubTotals: |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | CPU1 | CPU2 | DIMM1 | DIMM2
| CLST Allowance: | [8 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Define Processors
Summary / Results
Configure System
Help
Define PCI Devices
Define Memory
Configure Compute Module 2
Thermal Check (normal)
Thermal Check (fan fail)
Define Serveboard

## Configure Module 2
Power Budget | Compute Module 2: (Select Computer Module) Configuration | [12 empty] | CPU VRM Efficiency | 3.3v VRM Efficiency | 5v VRM Efficiency
Serverboard Feature | Description |  | +3.3V (amps) | +5V (amps) | +12V (amps) | 12V CPU1 (amps) | 12V CPU2 (amps) | 5V stby (amps) | Max 3.3v/5v (watts) | 12V MAIN (Amps) | 12V Stby (Amps) | Power (Watts) |  | 100% | 100% | 100%
Serverboard: | 1 |  | 0 | 0 | 0 |  |  | 0 |  | 0 | 0 | 0
Processors 1: | 1 | 1 |  |  |  | 0 |  |  |  | 0 | 0 | 0 | *This line includes correction factors.
Processors 2: | 1 | 1 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | *This line includes correction factors.
1
System Fans: |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0
CPU 1 Memory: | 1 | 1 |  |  |  | 0 |  |  |  | 0 | 0 | 0
CPU 2 Memory: | 1 | 1 |  |  |  |  | 0 |  |  | 0 | 0 | 0
PCIe Slot 1: | 1 |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
Slot2 IO Module: | 1 |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
| Compute Module 2 SubTotals: |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | CPU1 | CPU2 | DIMM1 | DIMM2
| CLST Allowance: | [8 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Define Processors
Summary / Results
Configure System
Help
Define PCI Devices
Define Memory
Configure Compute Module 3
Thermal Check (normal)
Thermal Check (fan fail)
Define Serveboard

## Configure Module 3
Power Budget | Compute Module 3: (Select Computer Module) Configuration | [12 empty] | CPU VRM Efficiency | 3.3v VRM Efficiency | 5v VRM Efficiency
Serverboard Feature | Description |  | +3.3V (amps) | +5V (amps) | +12V (amps) | 12V CPU1 (amps) | 12V CPU2 (amps) | 5V stby (amps) | Max 3.3v/5v (watts) | 12V MAIN (Amps) | 12V Stby (Amps) | Power (Watts) |  | 100% | 100% | 100%
Serverboard: | 1 |  | 0 | 0 | 0 |  |  | 0 |  | 0 | 0 | 0
Processors 1: | 1 | 1 |  |  |  | 0 |  |  |  | 0 | 0 | 0 | *This line includes correction factors.
| Quantity: | 1
Processors 2: | 1 | 1 |  |  |  |  | 0 |  |  | 0 | 0 | 0 | *This line includes correction factors.
| Quantity: | 1
System Fans: |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0
CPU 1 Memory: | 1 | 1 |  |  |  | 0 |  |  |  | 0 | 0 | 0
CPU 2 Memory: | 1 | 1 |  |  |  |  | 0 |  |  | 0 | 0 | 0
PCIe Slot 1: | 1 |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
SLot2 IO Module: | 1 |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
| Compute Module 3 SubTotals: |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | CPU1 | CPU2 | DIMM1 | DIMM2
| CLST Allowance: | [8 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Define Processors
Summary / Results
Configure System
Help
Define PCI Devices
Define Memory
Configure Compute Module 4
Thermal Check (normal)
Thermal Check (fan fail)
Define Serveboard

## Configure Module 4
Power Budget | Compute Module 4: (Select Computer Module) Configuration | [12 empty] | CPU VRM Efficiency | 3.3v VRM Efficiency | 5v VRM Efficiency
Serverboard Feature | Description |  | +3.3V (amps) | +5V (amps) | +12V (amps) | 12V CPU1 (amps) | 12V CPU2 (amps) | 5V stby (amps) | Max 3.3v/5v (watts) | 12V MAIN (Amps) | 12V Stby (Amps) | Power (Watts) |  | 100% | 100% | 100%
Serverboard: | 1 |  | 0 | 0 | 0 |  |  | 0 |  | 0 | 0 | 0
Processors 1: | 1 | 1 |  |  |  | 0 |  |  |  | 0 | 0 | 0 | *This line includes correction factors.
| Quantity: | 1
Processors 2: | 1 | [5 empty] | 0 |  |  | 0 | 0 | 0 | *This line includes correction factors.
| Quantity: | 1
System Fans: |  |  |  |  | 0 |  |  |  |  | 0 | 0 | 0
CPU 1 Memory: | 1 | 1 |  |  |  | 0 |  |  |  | 0 | 0 | 0
CPU 2 Memory: | 1 | 1 |  |  |  |  | 0 |  |  | 0 | 0 | 0
PCIe Slot 1: | 1 |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
Slot2 IO Module: | 1 |  | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0
| Compute Module 4 SubTotals: |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 |  | CPU1 | CPU2 | DIMM1 | DIMM2
| CLST Allowance: | [8 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 | 0
Define Processors
Summary / Results
Configure System
Help
Define PCI Devices
Define Memory
Configure Compute Module 1
Thermal Check (normal)
Thermal Check (fan fail)
Define Serveboard

## Serverboard
Serverboard | 3.3 | 5 | 12BB | -12 | 5VSB | Watts | CPU VRM% | 5v VRM% | 3v VRM% | MAX DIMM/socket
(Select Computer Module) | [6 empty] | 1 | 1 | 1
HNS2600KP |  |  | 1.5 |  | 1.5 | 25.5 | 92% | 90% | 90% | 4
HNS2600KPF |  |  | 2.5 |  | 1.5 | 37.5 | 92% | 90% | 90% | 4
HNS2600KPR |  |  | 1.5 |  | 1.5 | 25.5 | 92% | 90% | 90% | 4
HNS2600KPFR |  |  | 2.5 |  | 1.5 | 37.5 | 92% | 90% | 90% | 4
User Definable | [5 empty] | 0 |  |  |  |  | <-- Define Custom Numbers Here
User Definable | [5 empty] | 0 |  |  |  |  | <-- Define Custom Numbers Here
User Definable | [5 empty] | 0 |  |  |  |  | <-- Define Custom Numbers Here
User Definable | [5 empty] | 0 |  |  |  |  | <-- Define Custom Numbers Here
User Definable | [5 empty] | 0 |  |  |  |  | <-- Define Custom Numbers Here
When finished entering Information - click here to return.

## Chassis Definition
Chassis | PS limits | [5 empty] | Max W | Total | Fans | PCI | Max | HSBP | PS Eff%
Selection | Form factor | 5V | 12V 230VAC | 12V 115VAC | 12VStby | 5VSB | 3.3v/5v | Watts | 12V | slots | HDD | VR Eff% | 220v | 110v
(Select Chassis) |  |  | 0 | 0 | 0 |  |  |  | 0 |  | 0 | 100% | 100% | 100%
H2312XXKR2 (2X 1600W CRPS) | 2U |  | 133 | 83 | 3.5 |  |  |  | 0 |  | 3 | 95% | 94% | 92%
H2312XXLR2 (2X 2130W CRPS) | 2U |  | 163 | 104 | 3.5 |  |  |  | 0 |  | 3 | 95% | 94% | 92%
H2216XXKR2 (2X1600W CRPS) | 2U |  | 133 | 83 | 3.5 |  |  |  | 0 |  | 4 | 95% | 94% | 92%
H2216XXLR2 (2X 2130W CRPS) | 2U |  | 163 | 104 | 3.5 |  |  |  | 0 |  | 4 | 95% | 94% | 92%
User Definable | [7 empty] | 0 |  |  |  | 80% | 71% | 75% | <-- Define Custom Numbers Here
User Definable | [7 empty] | 0 |  |  |  | 80% | 71% | 75% | <-- Define Custom Numbers Here
User Definable | [7 empty] | 0 |  |  |  | 80% | 71% | 75% | <-- Define Custom Numbers Here
User Definable | [7 empty] | 0 |  |  |  | 80% | 71% | 75% | <-- Define Custom Numbers Here
User Definable | [7 empty] | 0 |  |  |  | 80% | 71% | 75% | <-- Define Custom Numbers Here
Note: HS Fan (Y/N) determines if an Active Heatsink (Heatsink with Fan) in Intel® Boxed Processors is used (adds fan power to budget)
Note: PS Eff is estimate @ typ voltage & 35% to 90% loading based on PS measurement data.
Chassis | PS limits | [5 empty] | Max W | Total | Fans | PCI | Max | HSBP | PS Eff%
Selection | 3V | 5V | 12VBB | 12V CPU1 | 12V CPU2 | 5VSB | 3.3v/5v | Watts | 12V | slots | HDD | VR Eff% | 110v | 220v
(Select Chassis) | [10 empty] | 99 | 100% | 100% | 100%
Example 1
To define a custom chassis record
1. Enter the PS limits from the system or power supply
specification. NOTE: if PSU has a single 12V output, aggregate all 12V usage on the summary page.
2. Enter the 12V fan current in amps for fans at maximum speed
3. Enter the maximum number of hard drives the system supports
4A. If the chassis defined has a hotswap backplane with an on board 5V converter, enter the converter efficiency under the HSPB VR Eff%.
4B. If the chassis will supply 5V power from the Willowbrook drive power connector, enter 0 under the HSPB VR Eff%
5. Enter the overall PS Efficiency. If specified generally, enter the same number in both voltage columns.
When finished entering Information - click here to return.

## Processors
Processor Types | TDP (W) | HS Fan (A) | Source |  |  | CLST Saving
(Select Processor)
Intel® Xeon® E5-2697 v3 (35M Cache, 2.60 GHz), 145W, 14C | 145 |  |  |  | 45 | 80
Intel® Xeon® E5-2695 v3 (35M Cache, 2.30 GHz), 120W, 14C | 120 |  |  |  | 45 | 87
Intel® Xeon® E5-2690 v3 (30M Cache, 2.60 GHz), 135W, 12C | 135 |  |  |  | 40 | 76
Intel® Xeon® E5-2685 v3 (30M Cache, 2.60 GHz), 120W, 12C | 120 |  |  |  | 40 | 68
Intel® Xeon® E5-2683 v3 (35M Cache, 2.00 GHz), 120W, 14C | 120 |  |  |  | 40 | 87
Intel® Xeon® E5-2680 v3 (30M Cache, 2.50 GHz), 120W, 12C | 120 |  |  |  | 40 | 75
Intel® Xeon® E5-2670 v3 (30M Cache, 2.30 GHz), 120W, 12C | 120 |  |  |  | 40 | 75
Intel® Xeon® E5-2667 v3 (20M Cache, 3.20 GHz), 135W, 8C | 135 |  |  |  | 35 | 50
Intel® Xeon® E5-2660 v3 (25M Cache, 2.60 GHz), 105W, 10C | 105 |  |  |  | 35 | 70
Intel® Xeon® E5-2650L v3 (30M Cache, 1.80 GHz), 65W, 12C | 65 |  |  |  | 35 | 50
Intel® Xeon® E5-2650 v3 (25M Cache, 2.30 GHz), 105W, 10C | 105 |  |  |  | 35 | 70
Intel® Xeon® E5-2643 v3 (20M Cache, 3.40 GHz), 135W, 6C | 135 |  |  |  | 35 | 50
Intel® Xeon® E5-2640 v3 (20M Cache, 2.60 GHz), 90W, 8C | 90 |  |  |  | 35 | 49
Intel® Xeon® E5-2637 v3 (15M Cache, 3.50 GHz), 135W, 4C | 135 |  |  |  | 35 | 44
Intel® Xeon® E5-2630L v3 (20M Cache, 1.80 GHz), 55W, 8C | 55 |  |  |  | 30 | 40
Intel® Xeon® E5-2630 v3 (20M Cache, 2.40 GHz), 85W, 8C | 85 |  |  |  | 30 | 51
Intel® Xeon® E5-2623 v3 (10M Cache, 3.00 GHz), 105W, 4C | 105 |  |  |  | 30 | 60
Intel® Xeon® E5-2620 v3 (15M Cache, 2.40 GHz), 85W, 6C | 85 |  |  |  | 30 | 57
Intel® Xeon® E5-2609 v3 (15M Cache, 1.90 GHz), 85W, 6C | 85 |  |  |  | 30 | 49
Intel® Xeon® E5-2603 v3 (15M Cache, 1.60 GHz), 85W, 6C | 85 |  |  |  | 25 | 57
Intel® Xeon® E5-2699 v4 (55M Cache, 2.20 GHz), 145W, 22C | 145 |  |  |  | 25 | 90
Intel® Xeon® E5-2695 v4 (45M Cache, 2.10 GHz), 120W, 18C | 120 |  |  |  |  | 73
Intel® Xeon® E5-2660 v4 (35M Cache, 2.00 GHz), 105W, 14C | 105 |  |  |  |  | 65
Intel® Xeon® E5-2680 v4 (35M Cache, 2.40 GHz), 120W, 14C | 120 |  |  |  |  | 70
Intel® Xeon® E5-2683 v4 (40M Cache, 2.10 GHz), 120W, 16C | 120 |  |  |  |  | 81
Intel® Xeon® E5-2690 v4 (35M Cache, 2.60 GHz), 135W, 14C | 135 |  |  |  |  | 65
Intel® Xeon® E5-2697 v4 (45M Cache, 2.30 GHz), 145W, 18C | 145 |  |  |  |  | 84
Intel® Xeon® E5-2697A v4 (40M Cache, 2.60 GHz), 145W, 16C | 145 |  |  |  |  | 81
Intel® Xeon® E5-2698 v4 (50M Cache, 2.20 GHz), 135W, 20C | 135 |  |  |  |  | 87
Intel® Xeon® E5-2658 v4 (35M Cache, 2.30 GHz), 105W, 14C | 105 |  |  |  |  | 65
Intel® Xeon® E5-2650L v4 (35M Cache, 1.70 GHz), 65W, 14C | 65 |  |  |  |  | 50
Intel® Xeon® E5-2650 v4 (30M Cache, 2.20 GHz), 105W, 12C | 105 |  |  |  |  | 61
Intel® Xeon® E5-2648L v4 (35M Cache, 1.80 GHz), 75W, 14C | 75 |  |  |  |  | 55
Intel® Xeon® E5-2628L v4 (30M Cache, 1.90 GHz), 75W, 12C | 75 |  |  |  |  | 52
Intel® Xeon® E5-2630L v4 (25M Cache, 1.80 GHz), 55W, 10C | 55 |  |  |  |  | 42
Intel® Xeon® E5-2667 v4 (25M Cache, 3.20 GHz), 135W, 8C | 135 |  |  |  |  | 55
Intel® Xeon® E5-2623 v4 (10M Cache, 2.60 GHz), 85W, 4C | 85 |  |  |  |  | 47
Intel® Xeon® E5-2630 v4 (25M Cache, 2.20 GHz), 85W, 10C | 85 |  |  |  |  | 52
Intel® Xeon® E5-2618L v4 (25M Cache, 2.20 GHz), 75W, 10C | 75 |  |  |  |  | 46
Intel® Xeon® E5-2637 v4 (15M Cache, 3.50 GHz), 135W, 4C | 135 |  |  |  |  | 47
Intel® Xeon® E5-2640 v4 (25M Cache, 2.40 GHz), 90W, 10C | 90 |  |  |  |  | 50
Intel® Xeon® E5-2620 v4 (20M Cache, 2.10 GHz), 85W, 8C | 85 |  |  |  |  | 54
Intel® Xeon® E5-2608L v4 (20M Cache, 1.60 GHz), 50W, 8C | 50 |  |  |  |  | 43
Intel® Xeon® E5-2643 v4 (20M Cache, 3.40 GHz), 135W, 6C | 135 |  |  |  |  | 50
Intel® Xeon® E5-2609 v4 (20M Cache, 1.70 GHz), 85W, 8C | 85 |  |  |  |  | 54
Intel® Xeon® E5-2603 v4 (15M Cache, 1.70 GHz), 85W, 6C | 85 |  |  |  |  | 49
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
<-- Define Custom Numbers Here
0
0
1
2
When finished entering Information - click here to return.

## Memory
Watts of +12V
| # of DIMMS | [10 empty] | Hi Stress DIMM P |  | Min Throtted P |  | CLST Saving
Memory | 1 | 2 | 4 | 8 | [7 empty] | 1DPC | 2DPC | 1DPC | 2DPC | 1 | 2 | 4 | 8
(Select Memory) | 0 | 0 | 0 | 0
4GB DDR4 RDIMM (4Gb, SRx8) | 3 | 6 | 12 | 18.4 | [7 empty] | 3 | 2.3 | 2 | 1.6 | 1 | 2 | 4 | 5.6
8GB DDR4 RDIMM (4Gb, SRx4) | 4 | 8 | 16 | 24 | [7 empty] | 4 | 3 | 2.2 | 2 | 1.8 | 3.6 | 7.2 | 8
8GB DDR4 RDIMM (8Gb, SRx8) | 3 | 6 | 12 | 18.4 | [7 empty] | 3 | 2.3 | 2 | 1.6 | 1 | 2 | 4 | 5.6
8GB DDR4 RDIMM (4Gb, DRx8) | 3.6 | 7.2 | 14.4 | 21.6 | [7 empty] | 3.6 | 2.7 | 2.8 | 2 | 0.8 | 1.6 | 3.2 | 5.6
16GB DDR4 RDIMM (8Gb, SRx4) | 4 | 8 | 16 | 24 | [7 empty] | 4 | 3 | 2.2 | 2 | 1.8 | 3.6 | 7.2 | 8
16GB DDR4 RDIMM (4Gb, DRx4) | 6.3 | 12.6 | 25.2 | 37.8 | [7 empty] | 6.3 | 4.725 | 3.6 | 3.3 | 2.7 | 5.4 | 10.8 | 11.4
16GB DDR4 RDIMM (8Gb, DRx8) | 3.6 | 7.2 | 14.4 | 21.6 | [7 empty] | 3.6 | 2.7 | 2.8 | 2 | 0.8 | 1.6 | 3.2 | 5.6
32GB DDR4 RDIMM (8Gb, DRx4) | 6.3 | 12.6 | 25.2 | 37.8 | [7 empty] | 6.3 | 4.725 | 3.6 | 3.3 | 2.7 | 5.4 | 10.8 | 11.4
32GB DDR4 LRDIMM (4Gb, QRx4) | 10.6 | 21.2 | 42.4 | 64 | [7 empty] | 10.6 | 8 | 6.8 | 6.4 | 3.8 | 7.6 | 15.2 | 12.8
64GB DDR4 LRDIMM (8Gb, QRx4) | 11 | 22 | 44 | 66 | [7 empty] | 11 | 8.25 | 6.8 | 6.4 | 4.2 | 8.4 | 16.8 | 14.8
User Definable | [9 empty] | <-- Define Custom Numbers Here
User Definable | [9 empty] | <-- Define Custom Numbers Here
User Definable | [9 empty] | <-- Define Custom Numbers Here
Note:
DIMM power will vary depending on the # of DIMMs & the actual strees/bandwidth used.
0
1
2
4
EP-DDR4 | Frequency |  | min Throttled BW/DIMM |  | min DIMM P |  | Hi Stress DIMM P |  | Acoustic DIMM P |  | Min Throtted DIMM P
EP | 1DPC | 2DPC | 1DPC | 2DPC | 1DPC | 2DPC | 1DPC | 2DPC | 1DPC | 2DPC | 1DPC | 2DPC
LR-DIMM 3D4S 8Rx4 (4Gb-8Gb not available) | 2400 | 2133 | 1.9 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LRDIMM DDP-QRx4 | 2400 | 2133 | 1.9 | 0.9 | 8.3 | 7.1 | 11.3 | 8.7 | 7.3 | 6.6 | 6.8 | 6.4 | 0.76991
RDIMM-DRx4 | 2400 | 2133 | 1.9 | 0.9 | 4.5 | 3.8 | 6.3 | 4.6 | 3.9 | 3.5 | 3.6 | 3.3 | 0.73016
RDIMM-2Rx8, 1Rx4 | 2400 | 2133 | 1.9 | 0.9 | 2.8 | 2.3 | 4 | 3 | 2.4 | 2.1 | 2.2 | 2 | 0.75
When finished entering Information - click here to return.

## PCI
PCIe slot 1 Add in Cards | Amps of +3.3V | Amps of +5V | Amps of +12VBB | Amps of -12V | Watts
Slot Empty
PCIe 5W |  |  | 0.44 |  | 5.28
PCIe10W |  |  | 0.83 |  | 9.96
PCIe15W |  |  | 1.25 |  | 15
100HFA018LS |  |  | 0.69 |  | 8.28
100HFA016LS |  |  | 0.975 |  | 11.7
User Definable |  |  |  |  | 0 | <-- Define Custom Card Here
User Definable |  |  |  |  | 0 | <-- Define Custom Card Here
User Definable |  |  |  |  | 0 | <-- Define Custom Card Here
IO Modules
Slot Empty
AXX10GBNIAIOM | 1.457 |  | 0.57 |  | 11.7481
AXX1FDRIBIOM | 0.77 |  | 0.46 |  | 8.161
AXX2FDRIBIOM | 1.23 |  | 0.46 |  | 9.679
AXX4P1GBPWLIOM |  |  | 0.37 |  | 4.44
AXX10GBTWLHW3 | 0.8 |  | 1.39 |  | 19.42
User Definable |  |  |  |  | 0 | <-- Define Custom Card Here
User Definable |  |  |  |  | 0 | <-- Define Custom Card Here
User Definable |  |  |  |  | 0 | <-- Define Custom Card Here
When finished entering Information - click here to return.

## HSBP
Backplane / Midplane | +3.3V (A) | +5V (A) | +12VMAIN | -12V (A) | 5vsb (A) | W
| 0 | 0 | 0 | 0 | 0 | 0
12 X 3.5'' Passive BP (FH2K12X35HSBP) |  |  | 0.2 |  |  | 2.4
12 X 3.5'' Passive BP (FH2K12X35HSBP) |  |  | 0.2 |  |  | 2.4
16 X 2.5'' Passive BP (FH2K16X25HSBP) |  |  | 0.2 |  |  | 2.4
16 X 2.5'' Passive BP (FH2K16X25HSBP) |  |  | 0.2 |  |  | 2.4
[6 empty] | 0 | <-- Define Custom Peripherals Here
<-- Define Custom Peripherals Here
<-- Define Custom Peripherals Here
When finished entering Information - click here to return.

## HardDrive
Hard Drives | Amps of +3.3V | Amps of +5V | Amps of +12V | Watts
Empty |  |  |  | 0
3.5" SATA Typical Power (12W) |  | 0.5 | 0.8 | 12.1
3.5" SAS Typical Power (15W) |  | 0.8 | 0.92 | 15.04
2.5" SATA Typical Power (5W) |  | 1 | 0 | 5
2.5" SAS Typical Power (9W) |  | 0.81 | 0.41 | 8.97
User Definable |  |  |  | 0 | <-- Define Custom Device Here
User Definable |  |  |  | 0 | <-- Define Custom Device Here
User Definable |  |  |  | 0 | <-- Define Custom Device Here
User Definable |  |  |  | 0 | <-- Define Custom Device Here
PCIe SSD | Amps of +3.3V | Amps of +5V | Amps of +12V | Watts
Empty |  |  |  | 0
PCIe SSD Typical Power (25W) |  |  | 2.08 | 24.96
User Definable |  |  |  | 0 | <-- Define Custom Device Here
User Definable |  |  |  | 0 | <-- Define Custom Device Here
User Definable |  |  |  | 0 | <-- Define Custom Device Here
User Definable |  |  |  | 0 | <-- Define Custom Device Here
When finished entering Information - click here to return.

## Peripherals
Misc Peripherals | Amps of +3.3V | Amps of +5V | Amps of +12V | Amps of -12V | Amps of 3vsb | Watts
Slim-Line Devices
Empty
Empty
User Definable |  | 0.6 |  |  |  | 3 | <-- Define Custom Peripherals Here
User Definable | [5 empty] | 0 | <-- Define Custom Peripherals Here
User Definable | [5 empty] | 0 | <-- Define Custom Peripherals Here
User Definable | [5 empty] | 0 | <-- Define Custom Peripherals Here
User Definable | [5 empty] | 0 | <-- Define Custom Peripherals Here
Other Peripheral Devices
Empty
Empty
USB floppy drive |  | 0.5 |  |  |  | 2.5
User Definable | [5 empty] | 0 | <-- Define Custom Peripherals Here
User Definable | [5 empty] | 0 | <-- Define Custom Peripherals Here
User Definable | [5 empty] | 0 | <-- Define Custom Peripherals Here
User Definable | [5 empty] | 0 | <-- Define Custom Peripherals Here
User Definable | [5 empty] | 0 | <-- Define Custom Peripherals Here
When finished entering Information - click here to return.

## Kennedy Pass_Normal
Notes: 1. 27°C is limited to elevations of 900m or less 2. Quad Port IO Modules cannot be installed simultaneously with PCI Cards. 3. Processor - may have some performance impact. 4. Processors - There may be some performance impact during fan failures. 5. For A3/A4 individual PS selection: 1) For dual power supply configuration, power budget must fit within single power supply rated load and be installed in dual configuration 2) For single power supply configuration, power budget must be sized with 30% margin to single power supply rated load. 6. When identifying memory in the table, only Rank and Width are required. Capacity is not required. 7. Processor limited to 120W to support 1.5W AOC cable. Processor limited to 120W and memory limited to DRx4 to support 2W AOC cable. 8. Supported with one HDD per node configuration. |  | Base System SKUs: H2216KNP |  |  | Base System SKUs: H2312KNP |  |  |  |  | Base System SKUs: H2224KNP
ASHRAE (See note 1) | Classifications | A2 | A3 | A4 | 27C | A2 | A2 | A3 | A4 | 27C | A2 | A2 | A3 | A4
| Max Ambient | 35C | 40C | 45C | 27C | 35C | 35C | 40C | 45C | 27C | 35C | 35C | 40C | 45C | <-- See note 1
PS (See note 5) | Power Supplies | See Note 5 |  |  | See Note 5 |  |  |  |  | See Note 5
EP Processors (See notes 3 and 4) | EP, 135w, 12C (Intel® Xeon® processor E5-2690 V3) | ● | ● |  | ● |  | ● |  |  | ● |  | ●
| EP, 120w, 12C (Intel® Xeon® processor E5-2680 V3, E5-2670 V3) | ● | ● |  | ● |  | ● |  |  | ● |  | ●
| EP, 105w, 10C (Intel® Xeon® processor E5-2660 V3, E5-2650 V3) | ● | ● | ● | ● |  | ● | ● |  | ● |  | ● | 3,4
| EP, 90w, 8C (Intel® Xeon® processor E5-2640 V3) | ● | ● | ● | ● | ● | ● | ● |  | ● | ● | ● | 3,4
| EP, 85w,8C,6C (Intel® Xeon® processor E5-2630 V3, E5-2620 V3, E5-2609 V3, E5-2603 V3) | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | 3,4 | 3
| EP, 135w, 8C,6C,4C (Intel® Xeon® processor E5-2667 V3, E5-2643 V3, E5-2637 V3) | 3,4 |  |  | 3,4 |  |  |  |  | 3,4
| EP, 105w, 4C (Intel® Xeon® processor E5-2623 V3) | ● | ● | ● | ● |  | ● | ● |  | ● |  | ● | 3,4
| EP, 65w, 12C (Intel® Xeon® processor E5-2650L V3) | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | 3,4 | 3
| EP, 55w, 8C (Intel® Xeon® processor E5-2630L V3) | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | 3,4 | 3
| EP, 145w, 14C,18C (Intel® Xeon® processor E5-2697 V3, E5-2699 V3) | 3,4 |  |  | 3,4 |  |  |  |  | 3,4
| EP, 135w, 16C (Intel® Xeon® processor E5-2698 V3) | 3,4 |  |  | 3,4 |  |  |  |  | 3,4
| EP, 120w, 14C (Intel® Xeon® processor E5-2695 V3, E5-2683 V3) | 3,4 |  |  | 3,4 |  |  |  |  | 3,4
Memory Type (See note 6) | RDIMM-2Rx8,1Rx4 | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ●
| RDIMM-DRx4 | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ●
| LRDIMM-QRx4 DDP | ● | ● | ● | ● | ● | ● | ● |  | ● | ● | ● | ●
Add-in Cards (See note 2) | PCI Cards with 100LFM/55C spec | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ●
| PCI Cards With 200LFM/55C spec | ● |  |  | ● | ● | ● |  |  | ● | ● | ● |  |  | <-- See note 2
| PCI Cards With 300LFM/55C spec | ● |  |  | ● | ● | 8 |  |  | ● | ● | 8 |  |  | <-- See note 2
Module (See note 2) | AXX10GBTWLIOM - Dual 10GBASE-T IO Module | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ●
| AXX10GBNIAIOM - Dual SFP+ port 10GbE IO Module | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ●
| AXX1FDRIBIOM - Single Port FDR Infiniband IO Module | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ●
| AXX2FDRIBIOM - Dual Port FDR Infiniband IO Module | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ●
| AXX4P1GBPWLIOM - Quad Port 1GbE IO Module | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | <-- See note 2
QSFP Cables (See note 7) | Passive Cable | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ● | ●
| Active Optical Cable (1.5W) | ● |  |  | ● | ● | 7 |  |  | ● | ● | 7
| Active Optical Cable (2W) | ● |  |  | ● | ● | 7 |  |  | ● | ● | 7 |  |  | <-- See note 7
Summary / Results

## Kennedy Pass_Fan Fail
Notes: 1. 27°C is limited to elevations of 900m or less 2. Quad Port IO Modules cannot be installed simultaneously with PCI Cards. 3. Processor - may have some performance impact. 4. Processors - There may be some performance impact during fan failures. 5. For A3/A4 individual PS selection: 1) For dual power supply configuration, power budget must fit within single power supply rated load and be installed in dual configuration, or 2) For single power supply configuration, power budget must be sized with 30% margin to single power supply rated load. 6. When identifying memory in the table, only Rank and Width are required. Capacity is not required. 7. Processor limited to 120W to support 1.5W AOC cable. Processor limited to 120W and memory limited to DRx4 to support 2W AOC cable. 8. Fan fail is not supported at A3/A4 |  | Base System SKUs: H2216KNP | Base System SKUs: H2312KNP |  | Base System SKUs: H2224KNP
ASHRAE (See note 1) | Classifications | A2 | 27C | A2 | 27C | A2
| Max Ambient | 35C | 27C | 35C | 27C | 35C | <-- See note 1
PS (See note 5) | Power Supplies | See Note 5 | See Note 5 |  | See Note 5
EP Processors (See notes 3 and 4) | EP, 135w, 12C (Intel® Xeon® processor E5-2690 V3) | 3,4 | 3,4 | 3,4 | 3,4 | 3,4
| EP, 120w, 12C (Intel® Xeon® processor E5-2680 V3, E5-2670 V3) | 3,4 | 3,4 | 3,4 | 3,4 | 3,4
| EP, 105w, 10C (Intel® Xeon® processor E5-2660 V3, E5-2650 V3) | 3,4 | 3,4 | 3,4 | 3,4 | 3,4
| EP, 90w, 8C (Intel® Xeon® processor E5-2640 V3) | 3,4 | 3,4 | 3,4 | 3,4 | 3,4
| EP, 85w,8C,6C (Intel® Xeon® processor E5-2630 V3, E5-2620 V3, E5-2609 V3, E5-2603 V3) | 3,4 | 3,4 | 3,4 | 3,4 | 3,4
| EP, 135w, 8C,6C,4C (Intel® Xeon® processor E5-2667 V3, E5-2643 V3, E5-2637 V3) | 3,4 | 3,4 |  | 3,4
| EP, 105w, 4C (Intel® Xeon® processor E5-2623 V3) | 3,4 | 3,4 | 3,4 | 3,4 | 3,4
| EP, 65w, 12C (Intel® Xeon® processor E5-2650L V3) | 3,4 | 3,4 | 3,4 | 3,4 | 3,4
| EP, 55w, 8C (Intel® Xeon® processor E5-2630L V3) | 3,4 | 3,4 | 3,4 | 3,4 | 3,4
| EP, 145w, 14C,18C (Intel® Xeon® processor E5-2697 V3, E5-2699 V3) | 3,4 | 3,4 |  | 3,4
| EP, 135w, 16C (Intel® Xeon® processor E5-2698 V3) | 3,4 | 3,4 |  | 3,4
| EP, 120w, 14C (Intel® Xeon® processor E5-2695 V3, E5-2683 V3) | 3,4 | 3,4 |  | 3,4
Memory Type (See note 6) | RDIMM-2Rx8,1Rx4 | ● | ● | ● | ● | ●
| RDIMM-DRx4 | ● | ● | ● | ● | ●
| LRDIMM-QRx4 DDP | ● | ● | ● | ● | ●
Add-in Cards (See note 2) | PCI Cards with 100LFM/55C spec | ●
PCI Cards with 200LFM/55C spec
| PCI Cards with 300LFM/55C spec | [5 empty] | <-- See note 2
Module (See note 2) | AXX10GBTWLIOM - Dual 10GBASE-T IO Module | ● | ● | ● | ● | ●
| AXX10GBNIAIOM - Dual SFP+ port 10GbE IO Module | ● | ● | ● | ● | ●
| AXX1FDRIBIOM - Single Port FDR Infiniband IO Module | ● | ● | ● | ● | ●
| AXX2FDRIBIOM - Dual Port FDR Infiniband IO Module | ● | ● | ● | ● | ●
| AXX4P1GBPWLIOM - Quad Port 1GbE IO Module | ● | ● | ● | ● | ● | <-- See note 2
QSFP Cables (See note 7) | Passive Cable | ● | ● | ● | ● | ●
| Active Optical Cable (1.5W) | ● | ● | 7 | ● | 7
| Active Optical Cable (2W) | ● | ● | 7 | ● | 7 | <-- See note 7
Summary / Results

## Revision
2017-02-08 | 1.5 |  | <=== Linked to Summary Tab.
Date | Rev | Notes | Init
2014-08-06 | 0.9 | Initial Release. | Xia Qi
2014-08-20 | 1 | Add HTA tab. | Xia Qi
2014-10-01 | 1.1 | Update HTA file. | Xia Qi
2015-06-02 | 1.2 | Add 24HDD support | Jessica
2015-08-25 | 1.3 | Update EPSD HTA Configuration to include 24HDD | Jessica
2016-06-22 | 1.4 | Update BDW CPU etc | Jessica
2017-02-08 | 1.5 | Correct the Node power calculation formula | Jessica